Chapter V

Assessment of the Work Team

- Professional requirements

A key aspect of quality assurance, especially in the case of health facilities with high protection requirements, is the selection of experienced professional teams who remain active and up to date in the field. For this reason, the selection of the professionals and firms that will conceive and make the project a reality must be based on an objective appraisal of their qualifications, such as their professional level, the number of projects completed, the square meters that have effectively been built, and their previous participation in health sector projects.

1.1	Specialists required for the preliminary-stage and hazard assessments

The preliminary stage of the project, including the hazard and risk assessments, calls for the hiring of professionals in the fields listed in table 22.

| Table 22 Professionals Required for Hazard Assessment |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Natural Hazards |  |  |  |  |  |
| Professionals Needed | Mudslides | Landslides | Hurricanes | Floods | Seismic events | Volcanic eruptions |
| Urban Development Specialists |  |  |  |  |  |  |
| Topographers |  |  |  |  |  |  |
| Geologists |  |  |  |  |  |  |
| Soil Mechanics Specialists |  |  |  |  |  |  |
| Meteorologists |  |  |  |  |  |  |
| Hydrologists |  |  |  |  |  |  |
| Hydraulic Engineers |  |  |  |  |  |  |
| Seismologists |  |  |  |  |  |  |
| Wind Engineers (specialized in hydrodynamics) |  |  |  |  |  |  |
| Seismic Engineers |  |  |  |  |  |  |
| Structural Engineers |  |  |  |  |  |  |
| Volcanologists |  |  |  |  |  |  |

These professionals must be selected in compliance with the criteria defined in Table 23.

It cannot reasonably be demanded that the disaster vulnerability assessment specialists have previous experience in the design of hospital infrastructure. Nevertheless, it would be useful if they had. On the other hand, experience in hazard and risk assessments is indispensable.

Table 23 Professional Requirements for Team Involved in Preliminary Plan and Design of the Facility

| Position | Minimum Certified Experience | Experience in Hospital Design (Last 10 Years) |  |
| --- | --- | --- | --- |
|  |  | Total Surface Built | Other Requirements |
| Director | 10 years | > 150,000 m2 | At least 2 Hospitals with Surface Built > 10.000 m2 |
| Coordination Team | 10 years | > 150,000 m2 | At least 2 Hospitals with Surface Built > 10.000 m2 |
| Specialists | 10 Years | > 100,000 m2 | At least 1 Hospital with Surface Built > 10.000 m2 |
| Risk Assessment Specialists | 10 years | - | - |
| Assistants | 5 years | - | - |

  - Specialists required for the preliminary plan, design, construction and inspection of the project

The Preliminary Plan Team, the Coordination Team, the participating specialists, and the Building Contractor must show that they have at least 10 years’ experience in the design, construction and inspection of health infrastructure, not only generally but with specific reference to the role they intend to play in the construction fo the new health facility.

Some of the key disciplines that must participate in the design, construction, and inspection of the project are listed in Table 24.

| Table 24 Specialists Required for the Design, Construction and Technical Inspection of the Works1 |  |  |
| --- | --- | --- |
| Air conditioning3 | Geotechnical engineering | Structural design4 |
| Architecture2 | Industrial equipment5 | Telecommunications8 |
| Budgeting and finance | Lighting fixtures | Vertical transport |
| Built-in furnishings | Medical and laboratory equipment | Vulnerability |
| Clinical gases | Medical furnishings | Waste management |
| Construction methods | Medicine and nursing | Water treatment9 |
| Electrical installations | Pneumatic mail | Other (specify) |
| Fire safety7 | Sanitary facilities6 |  |
| General safety | Signage |  |

| Notes: | 1 | The professionals whose disciplines are listed on this table must be selected according to the criteria defined in Table 23. The professionals in charge of the design, construction and technical inspection of the works must prove that their experience is in keeping with the goals of the project. |
| --- | --- | --- |
|  | 2 | The architect must carry out or supervise the safe design of the structural components of his or her competence, including façade elements, interior partitions, suspended ceilings, and appendages. |
|  | 3 | Included in this discipline: A/C systems, heating, ventilation, etc. |
|  | 4 | Depending on the conditions of the contract, the specialist must carry out the structural review of the non-structural components’ protection systems. |
|  | 5 | Included in this discipline: laundry, food or dietary services, sterilization, etc. |
|  | 6 | Included in this discipline: drinking water and sewerage networks, natural gas, etc. |
|  | 7 | Included in this discipline: dry and wet networks, sprinklers, etc. |
|  | 8 | Included in this discipline: closed-circuit TV, telephony, internal communications, etc. |
|  | 9 | Included in this discipline: Dialysis, boiler room, sterilization, laboratory, etc. |

- Criteria for the selection of the Execution Team and other consultants

The following tables specify the information that must be presented and certified by the specialists and consultancy firms that aspire to participate in the project:

Table 25a Information Required of Consultancy Firms

General Information

Identity of the potential contractor

Full name of the company

Legal domicile

Year of incorporation

Articles of incorporation

Legal representative

Business license

Contractor’s management and professional staff (incl. subcontractors, if applicable)

Name

Professional or technical degree

Professional or technical discipline

Position in the company (if applicable)

Academic and government certificates

Current activities and projects underway

Company cash flow and credit status

Average annual financial revenues and other resources, in dollars

Average annual profits from projects done in the past 5 years, in dollars

Banking and credit references

Table 25b Requirements that Must Be Met by Consultancy Firms

Technical Requirements

Certified company experience (works or services)

Project name

Project client

Project field (according to table 25c)

Economic value of the project

Built surface of the project

Total surface of the project

Execution period

Disciplines involved

Technologies employed

Standards and codes applied

Experience in similar projects

Certified experience of all relevant specialized staff

Project name

Project client

Economic value of the project

Built surface of the project

Total surface of the project

Execution period

Professional field

Project director

Project manager

Specialist

Designer

Assistant

Other

Activities carried out by the professional (only those that can be certified)

Field (as specified in Table 25c)

Disciplines applied

Experience in similar projects

Standards and codes applied

Listing of equipment, machinery, and tools to be employed

Other technical requirements that the institution or coordination team consider relevant for the execution of the project.

#### Table 25c #### Project Areas

Planning and feasibility

Administration

Basic engineering assessments

Engineering

Architecture and urban planning

Construction

Inspection

Miscellaneous evaluations and assessments

- Assessment of the Work Team

Form 9