The Use of Check Consultants in the Design and Construction

of Health-care Facilities

by Tony Gibbs, BSc, DCT(Leeds), CEng, FICE, FIStructE, FASCE, FConsE, FRSA

1	Hurricane Luis in Saint Martin / Sint Maarten

In September 1995 Hurricane Luis passed to the north-east of the island of Saint Martin / Sint Maarten.  Saint Martin is French and Sint Maarten is Dutch.  The amount of damage in Sint Maarten was significantly more than in Saint Martin, although the French side of the island was closer to the centre of Luis than was the Dutch side.

It is accepted that factors other than distance from the eye of the storm, such as topography, affect wind speeds.  However, there is no clear evidence that Sint Maarten experienced higher wind speeds than the French side.  Unfortunately there were no anemometer measurements available on the French side and the only reliable anemometer readings on the Dutch side were at the Netherlands Antilles Meteorological Service at the airport.  There the highest recorded gust was 99 knots or 51 metres per second (ms-1).  This was at a height of 10 metres above adjacent ground.

The eye passed 50 kilometres north of Saint Martin / Sint Maarten so that it was the south-west, south and south-east eye walls that impacted on the island.  This meant that Saint Martin / Sint Maarten was spared the full brunt of Luis.  Indeed, the wind forces in the north eye wall would have been about 33% greater than those in the south eye wall.

Notwithstanding the relatively favourable location of the island, the amount of damage caused was significant.  In the case of Dutch Sint Maarten the damage was catastrophic.  Direct losses were equivalent to the gross domestic product (GDP) and indirect losses added a similar amount, for a total loss of the order of twice the GDP.

When I visited the shared island in May 1996, eight months after Luis, the Dutch side still showed considerable evidence of the damage due to Luis.  This was not at all evident on the French side.  How much of the difference was due to differing responses on the two sides I am unable to tell.  However, those who were there during and immediately after the event confirmed that the differences in levels of damage were stark.

2	The Differing Regulatory Regimes

During my visit to Sint Maarten meetings were held with several engineers and builders who had worked on both sides of the island.  The contrast in damage levels was discussed with them and their comments were revealing.

Mr Ronald Daal of Independent Consulting Engineers (ICE), with headquarters on the Dutch side, indicated that there were significant differences in the regulatory regimes on the two sides of the border.  ICE maintains offices in both territories.  On the Dutch side the buildings are designed in accordance with a variety of standards, including those of the Netherlands.  The checking authority is the government Public Works Department, although this task is occasionally contracted out to private firms.  On the French side construction must comply with the French "norms" and the design and construction are checked by bureaux de contrôle.  In Mr Daal's words, on the French side "you have to do it right".

During my visit the Contractors Association in Sint Maarten arranged an evening forum of architects, engineers, builders and government officials which I addressed on the subject of "Hurricanes and Their Effects on Buildings and Other Structures".  After the lecture there was a wide-ranging discussion on various issues related to the Luis experience in Sint Maarten and the way forward for the building industry.  Again, the contrast with French Sint Martin was alluded to.  The differences outlined by those familiar with construction on both sides of the border included:

- better attention to conceptual design on the French side;

- greater consistency and uniformity of standards of design for earthquakes and hurricanes on the French side;

- the involvement of bureaux de contrôle on the French side.

3	Bureaux de Contrôle

The bureaux de contrôle are independent firms licensed by the state.  They pay well and attract, and keep, some of the best talent.  They check designs and also make site visits during construction.  Their involvement in projects is necessary if decennial (10-year) insurance cover is to be obtained by the building owner.  Lending agencies also demand the certification of bureaux de contrôle.

Because of the above observations in Sint Maarten / Saint Martin the Pan American Health Organisation Emergency Preparedness & Disaster Relief Coordination Programme office in Barbados assisted in sending me to Martinique in June 1996 to investigate the French system of controlling building standards.  A considerable amount was learned during a two-day visit.  It is useful to summarise the main information gathered during that visit.

During the visit, meetings were held with representatives of the government, architects, engineers, small builders, large contractors, developers, property managers and bureaux de contrôle.  The most remarkable result of the various discussions was that I could not find anyone who disagreed with the system of using bureaux de contrôle to review the design and construction of buildings.  Most comments were positively favourable.  The bureaux de contrôle were seen as being generally helpful and as having a developmental role in the construction industry.

There were five bureaux de contrôle operating in Martinique at that time.  That provided clients with choices and provided some market-driven constraint over the cost of these services.  The building owners pay the bureaux de contrôle.  Thus, in effect, a building owner would employ two sets of consultants on each project - the design team and the bureau de contrôle.

There were some inconsistencies in the answers I received in seeking to find out the area of applicability of use of bureaux de contrôle.  It appears that a law of 1978 required building owners to purchase decennial insurance for all new properties.  The insurance providers require the certification of bureaux de contrôle before writing policies.  But how widespread is this?  Some persons indicated that all new buildings require bureaux de contrôle.  Others said that all new buildings using borrowed funds for construction require bureaux de contrôle.  Others said that all new buildings where the public has access require bureaux de contrôle.  Suffice it to say that the use of bureaux de contrôle in Martinique, and other parts of France, is widespread and its beneficial effect on Saint Martin was manifest.

But how do others see the role of bureaux de contrôle?  Here are two quotations from Peter Rice's book "The Engineer Imagines":

"It is no accident of time that both the La Villette and IBM projects first appeared in France where there exist the most intelligent and knowledgeable checking authorities that I have come across.  The large centralized controlling offices, bureaux de contrôle, Socotec, Veritas, CEP and others each have at their head engineers who are equal in ability to any I have encountered in the best design offices, as Centre Pompidou amply demonstrated." - page 113

"Others not so closely involved must also be asked to review the project to question the assumptions and demand explanations.  ............  .  The presence of a competent, dedicated and sceptical checking authority is also very important in this respect." - page 123

4	Other Countries

In one form or another the independent checking of design and construction is widespread in many jurisdictions.  What sets France apart from most is the quality of their checking agencies.  However, some other jurisdictions do adopt a similar approach for special facilities.  In the United Kingdom all dams, tunnels and bridges are reviewed by specially-licensed, private-sector consultants.  Independent checking systems are also used in Germany, Japan, Mexico City, California and Vancouver.

The involvement of review consultants in Commonwealth Caribbean projects is not commonplace.  On the other hand it is a little surprising how many times it has occurred when one begins to investigate the practice.  For example, my own firm (Consulting Engineers Partnership Ltd) has had review consultants on at least eight major projects for which it was the designer of record.  Two of these projects are the Central Bank of Barbados and the Eastern Caribbean Central Bank.  In all cases we have found the experiences to be positive.  Here in the English-speaking Caribbean the Turks & Caicos Islands have made provisions for "special inspectors" in their recently-introduced building code.  A similar arrangement is being proposed for the Organisation of Eastern Caribbean States building codes.

5	Recommendations

I consider the French approach described above to be worthy of adoption on a wider scale.  Certainly health-care facilities deserve such an approach because of their importance to the communities they serve.  Nevertheless, recognising the relative infrequency of the practice, it would be desirable to explain more carefully to funding agencies, clients and design consultants the purposes of independent reviews.

The prime role of a review consultant is to reduce the incidence of errors or unsatisfactory designs and construction.  However, the role of a review consultant is not simply (or mainly) that of a policeman.  In countries (such as the French Antilles) the review consultant, bureau de contrôle, is seen as being generally helpful and as having a developmental role in the construction industry.

It is accepted that to err is human.  This is inferred in the words of the late design engineer Peter Rice quoted at the end of section 3 of this paper.  It is not so much a question of one engineer checking on another.  It is more a question of a review consultant assisting a design consultant in achieving a better and more reliable project by providing independent assessments of the work.

Obviously, there will be cases where deliberate sub-standard work and sheer incompetence are present.  In such cases the involvement of a review consultant would be vital for the fundamental well being of the project, for the protection of the client and in providing security for the funding agency and insurance underwriter.

To achieve better results from this process of independent design reviews in the Commonwealth Caribbean, the following actions should be taken:

- Hold discussions between the client, the funding agency and other relevant parties at the initiation of the project to examine the intentions of the exercise and to determine the scope of the service.

- Provide the prospective design consultants with the terms of reference of the review consultant as part of the description of the project for which they are proposing their services.

- Hold discussions between the selected design consultant and the review consultant at the start of the assignment of the design consultant.  These discussions would be the opportunity to agree on detailed timetables for submissions and reviews and on modi operandi.

- Do not involve the client in a blow-by-blow account of review discussions, but limit formal reports to final conclusions of the reviews.  (This would need to be dispensed with if an impasse is reached between the designer and the reviewer.)

The above recommendations are by no means a “book of words” for independent reviews.  Such books of words exist.  Several different systems are present.  Those known to me are the systems in France, the United Kingdom, Germany, Japan, Mexico City, California and Vancouver.  It would be most useful to study in detail some or all of these systems, discuss and debate them at a regional forum and develop an approach suited to the needs of the Commonwealth Caribbean.

I would like to add that (at least) all critical facilities and post-disaster assets in the Caribbean have, in the future, the involvement of bureaux de contrôle (check consultants) in addition to the conventional design teams for capital works projects, including additions to existing buildings and major renovations.

6	Conclusion

I am convinced of the need for peer reviews as a means for reducing the incidence of failures of our infrastructure, especially as a result of natural hazards.  I say “peer” reviews because the system can only work where the reviewer is at least as knowledgeable and experienced as the designer.  Obviously the system works best where the reviewer is more knowledgeable and experienced than the designer.  In such circumstances there is a real opportunity for the development of the profession and the development of the whole industry.

Consequences of Introducing the System of Check Consultants

With the introduction of an effective method of enforcement of standards we can expect:

- better information on the hazards;

- improved standards documents;

- more appropriate conceptual designs;

- leading to lower construction costs;

- improved quality of tertiary education for architects and engineers;

- better organised post-graduation formation of professionals;

- self-financing CPD programmes.

# Footnotes

For the PAHO Leaders Course, Ocho Rios, Jamaica, 11 February 2003

Director/Consultant, Consulting Engineers Partnership Ltd, with activities principally in the Caribbean.  Eng Gibbs is based in Barbados.

Spinetta Act

Peter Rice:

Born in Ireland in 1935.  Died in 1992

Queen’s Univ of Belfast, Imperial College of S, T & M (London), Cornell University

With Ove Arup & Partners:

- Sydney Opera House (with Utson)

- Lightweight roof structures (with Otto)

- Centre Pompidou (with Piano & Rogers)

- Pabellon del Futuro (Expo 1992, Sevilla)

- Charles de Gaulle Aerogare 3 (Paris)

- Kansai Airport Terminal Building

Young, gifted, dedicated engineerEngineering designer with unique qualities

Honorary Fellow and Royal Gold Medallist (RIBA)

The French firm Contrôle et Prevention.

Other Countries

(	United Kingdom - dams, tunnels and bridges

(	Germany - pruf ingenieurs

(	Japan - advocates and review jury

(	Mexico City - engineers licensed by exam for 3 years

(	Colombia - diseñador (the designer) and interventor (the checker for client) and curador (checker for government)

(	California

(	Vancouver

Consulting Engineers Partnership Ltd Projects Reviewed by Check Consultants:

(	Central Bank of Barbados

(	Intel Factory – Phase II

(	ALICO Building

(	3 Chelston Buildings (2 built) for Manufacturers Life Insurance Co

(	British High Commission Offices (Barbados and Trinidad)

(	Eastern Caribbean Central Bank